## Slide 1
A
B
D
E
F
Notes:
1 Letters are used avoid potential conflict with ISA-95 and other ‘Layer” models.
2 Routers and Firewalls between layers are not shown.
3 Other system-specific servers, applications ,and workstations are not shown.
4 Remote-hosted external applications (Cloud) could be configured to attach to devices at any level, with appropriate firewalls, tunneling and routing.
* We show a Purdue Level 5. The true Purdue Model only has levels 0-4 because it did not anticipate external applications.
G
Backhaul networks
C
Site n
Drivers
Alarms
Historian
HMI
Wide Area Network
H
I
Control Room network
DMZ / Process Information Network
Enterprise Network
Controller Network
Local Controllers
Field Devices
Communication Servers
Applications
Control Network
Process Information Network
Enterprise Network
Supervisory Controllers
Level 0
Level 4
Level 3
Level 2
Level 1
Field Sensor networks
Purdue Reference Model
J
Databases
Revision June 22, 2018
External Applications
K
External Network
Level 5*
Notes: Using letters at present to avoid potential conflict with ISA-84 and other ‘Layer” models